New concept in cables and accessories for low voltage underground distribution in Spain.

Gonzalo Maíz (1), Luciano Azpiazu (1), Joaquim Riera (2), Jacint Rovira (3)

1 - Iberdrola, Bilbao, Spain, gmaiz@iberdrola.es, luciano.azpiazu@iberdrola.es

2 - Niled, Manresa, Spain, jriera@niled.es

3 - General Cable,Casanova, Barcelona, Spain, jrovira@generalcable.es

The Low Voltage distribution networks in Spain currently use circuits composed of four single-core cables of the same cross-section, with aluminium conductor, XLPE insulation and PVC sheath. Due to the difficulty in detecting earth faults in the event of damage to the insulation and sheath layers and the consequent corrosion of the aluminium conductor, back in 1995 a collaboration study was carried out between the Spanish Utilities and some cable manufacturers to determine the optimal design in accordance with a series of variables assessed in accordance with their importance (possibility of detecting defects, cost, ease of installation, etc.) (See Jicable 95 Article B.1.5).

The conclusion was then reached that the cable with Ceander type concentric neutral conductor was the one that offered the most advantages and the replacement of the single-core cables by the Ceander type cable was therefore considered. After several test installations with the new cable, it was finally ruled out due to its higher cost and the greater complexity on preparing accessories, maintaining the single-core cable despite its lower safety level.

The advisability of modifying the LV distribution cable design was again considered in 2001, for which the following requirements were defined:

- Maintain the single-core design to facilitate the laying and the preparation of accessories

- Improve the resistance of the cable and the accessories to external elements (tearing, abrasion, water ingress, etc.) without compromising the ease of installation of the cable

- Reduce the environmental impact, eliminating lead stabilizers and plasticizers in the sheathing compound

- Eliminate the emission of halogens in the event of fire and maintain a similar fire-resistance

- Maintain the cost of the new cable and of its accessories at the same level as the previous one.

The appropriate accessories for this cable were subsequently designed with the following requirements:

- Simplification of assembly

- Reduction of stocks

- Safety for live working.

- Same level of environmental impact as the cable

- Highly reliable connections.

This work presents the developments and tests carried out to finally define the appropriate characteristics of the sheath material and the design of the cable and of the accessories which fully meet the requirements specified. Also the real advantages identified from the first in field installations are presented.