###### J I C A B L E

Club Jicable (SEE)

###### W E T S’ 11

Prospective 21OO

# With the support of CIGRE

# Committee B1 : Insulated Cables

The results of the survey for WETS'05 / WETS'07 are available on the site jicable.org page Workshops. See also CD Rom WETS'07.

# WETS’11 complementary questionnaire :

# Specific problems posed by DC

World Energy Transmission System

Form N° : DC

# Achievement and experience in service of long length (> 10 km), HV, EHV and UHV electrical links

# by AC and DC insulated power cables

Contact:

| Name : | _______________________ | Surname : | ___________________ |
| --- | --- | --- | --- |
| Company : | ______________________________________________________ |  |  |
| Address : | ______________________________________________________ |  |  |
|  | ______________________________________________________ |  |  |
| Tel. : | _______________________ | Fax : | __________________ |
| Email : | ______________________________________________________ |  |  |

## 1 - Space charges

1.1 	What kind(s) of problem(s) due to space charges could happen, considering the type of technology of the convertor (VSC or LCC) ?

1.2	How to analyse space charges measurements and how could be used the results of these analyses ?

1.3	 How can be defined a main and global method for measuring space charges on a DC system (cable and accessories):

. Under-voltage measures (under-current measures ?),

. Importance of the insulation layer thickness, considering the type of insulation when applying the measuring method.

1.4	How could we manage issues created by space charges, at the interfaces inside premoulded joints ?

Which methods do exist for justifying/explaining the considerations taken for the design of the premoulded joint (especially for the quantification and the management of the electric field at the interfaces) ? Within this list of methods, which one should be chosen as a reference ?

1.5	Reflexions and knowledges about degassing process : what are the impacts of these process on the dielectrical performances of the insulation?

1.6	Voltage decay and rise: how can be used this kind of method to check the conditions of insulation? What are the impacts of voltage decay and rise in relation to the security of stake-holders?

1.7	What is life expectancy of a DC extruded system ? 
Is a R&D program needed ?

## 2 - DC systems (cables and accessories)

2.1	Prospects of DC cables: which technologies (MI, XLPE), which range of power… ?

2.2	Capabilities of a DC system to work both in AC and DC : can an AC link be used in DC ? and vice versa.

Is it an attractive possibility to use an extruded AC cable as a DC cable several years after its commissioning?

- Skin and proximity effects,

- Nonlinear system,

- Charged insulator,

- B1.11 works.

2.3	When designed, what are the matches in voltage, if there are any, between AC and DC synthetic insulated cable?

- Gradient and temperature (overload temperatures are different in AC and DC).

2.4	Which are technologies of joints to be used for DC : taped (Taped Joint TJ or Tape Moulded Joint TMJ), prefabricated PFJ (composite or premoulded), moulded on site (Extrusion Moulded Joint EMJ) ?

2.5	Quality, ageing and life expectancy of the insulator :

- Distribution of the electrical field in the insulator: which model to choose ?

- Life expectancy of a DC extruded system ? Is a R&D program needed ?

2.6	Electrical design of links by using several dipoles in parallel.

2.7	Design of outdoor sealing ends (creepage distances) and GIS (maintenance), pollution withstand of the insulator used in DC: which are favourite technologies to be used ?

* * * * * * * *